## Summary
All DSE Risk Ratings (excluding risks 'not rated')
| Current | 2030 | 2070 | P_Current | P_2030 | P_2070
Low | 9 | 3 | 2 | 19.57% | 6.522% | 4.348%
Medium | 19 | 16 | 19 | 41.3% | 34.78% | 41.3%
High | 15 | 24 | 16 | 32.61% | 52.17% | 34.78%
Extreme | 3 | 3 | 9 | 6.522% | 6.522% | 19.57%
Total | 46 | 46 | 46 | 100% | 100% | 100%
High & extreme |  |  |  | 39.13% | 58.7% | 54.35%
Water supplies
| Current | 2030 | 2070 | P_Current | P_2030 | P_2070
Low | 1 | 0 | 0 | 10% | 0% | 0%
Medium | 3 | 2 | 3 | 30% | 20% | 30%
High | 5 | 6 | 2 | 50% | 60% | 20%
Extreme | 1 | 2 | 5 | 10% | 20% | 50%
Total | 10 | 10 | 10 | 100% | 100% | 100%
High & extreme |  | ` |  | 60% | 80% | 70%
Policy and Planning
| Current | 2030 | 2070 | P_Current | P_2030 | P_2070
Low | 1 | 0 | 1 | 14.29% | 0% | 14.29%
Medium | 5 | 3 | 3 | 71.43% | 42.86% | 42.86%
High | 0 | 4 | 3 | 0% | 57.14% | 42.86%
Extreme | 1 | 0 | 0 | 14.29% | 0% | 0%
Total | 7 | 7 | 7 | 100% | 100% | 100%
High & extreme |  |  |  | 14.29% | 57.14% | 42.86%
Infrastructure
| Current | 2030 | 2070 | P_Current | P_2030 | P_2070
Low | 3 | 3 | 1 | 33.33% | 33.33% | 11.11%
Medium | 5 | 3 | 5 | 55.56% | 33.33% | 55.56%
High | 1 | 3 | 3 | 11.11% | 33.33% | 33.33%
Extreme | 0 | 0 | 0 | 0% | 0% | 0%
Total | 9 | 9 | 9 | 100% | 100% | 100%
High & extreme |  |  |  | 11.11% | 33.33% | 33.33%
Economic Development
| Current | 2030 | 2070 | P_Current | P_2030 | P_2070
Low | 2 | 0 | 0 | 33.33% | 0% | 0%
Medium | 2 | 4 | 4 | 33.33% | 66.67% | 66.67%
High | 2 | 2 | 2 | 33.33% | 33.33% | 33.33%
Extreme | 0 | 0 | 0 | 0% | 0% | 0%
Total | 6 | 6 | 6 | 100% | 100% | 100%
High & extreme |  |  |  | 33.33% | 33.33% | 33.33%
Social & Community
| Current | 2030 | 2070 | P_Current | P_2030 | P_2070
Low | 2 | 0 | 0 | 28.57% | 0% | 0%
Medium | 2 | 3 | 3 | 28.57% | 42.86% | 42.86%
High | 3 | 4 | 4 | 42.86% | 57.14% | 57.14%
Extreme | 0 | 0 | 0 | 0% | 0% | 0%
Total | 7 | 7 | 7 | 100% | 100% | 100%
High & extreme |  |  |  | 42.86% | 57.14% | 57.14%
Environment
| Current | 2030 | 2070 | P_Current | P_2030 | P_2070
Low | 0 | 0 | 0 | 0% | 0% | 0%
Medium | 2 | 1 | 1 | 28.57% | 14.29% | 14.29%
High | 4 | 5 | 2 | 57.14% | 71.43% | 28.57%
Extreme | 1 | 1 | 4 | 14.29% | 14.29% | 57.14%
Total | 7 | 7 | 7 | 100% | 100% | 100%
High & extreme |  |  |  | 71.43% | 85.71% | 85.71%

## Water Supply
Risk descriptions |  |  |  |  | Region wide Risk ratings | [6 empty] | Region wide Other information |  |  | DSE Risk ratings | [6 empty] | DSE Other information
[25 empty] | Insignificant | Minor | Moderate | Major | Catastrophic
Risk ID | Category | Causes/Stressors | Risk | Consequences | Consequences | Likelihood (Current) | Priority (Current) | Likelihood (2030) | Priority (2030) | Likelihood (2070) | Priority (2070) | Controls | Key Locations | Notes | Consequences | Likelihood (Current) | Priority (Current) | Likelihood (2030) | Priority (2030) | Likelihood (2070) | Priority (2070) | Controls | Key Locations | Notes | Almost certain | Likely | Possible | Unlikely | Rare
1.01 | Surface Water | Reduced average rainfall Increased rainfall variability Increased evaporation and evapotranspiration Reduced and/or more variable streamflows Lack of monitoring of water extractions | Reduced reliability of unregulated surface water supplies | Decreased long-term security of supply to small communities and farms - viability threatened Failure (of water agencies) to meet service delivery obligations - reputation. | Major | Likely | Extreme | Likely | Extreme | Likely | Extreme | Alternative supplies (obtain water from secure sources) and storage. Demand restrictions, leading to irrigation bans, restrictions on public open space, outdoor residential gardening. Shift communities to regulated system. | Beechworth, Bright, Yackandandah, Corryong, Myrtleford | Issue of recent drought followed by more recent heavy rain places us in a difficult context for describing current conditions. | Major | Likely | Extreme | Likely | Extreme | Likely | Extreme | Murray Darling Basin Plan and Northern Sustainable Water Strategy |  |  | Surface Water | Ground Water | Alternative Supply | Other
1.02 | Surface Water | Reduced average rainfall Increased rainfall variability Increased evaporation Reduced or more variable inflows | Reduced reliability of regulated surface water supplies | Decreased long-term security of supply to urban centres Increase in water restrictions - community outrage Failure (of water agencies) to meet service delivery obligations | Catastrophic | Rare | High | Rare | High | Unlikely | High | Water trading, carry-over of bulk entitlements and development of alternative supplies. Water restrictions, reduced enviro flows, lower downstream releases, conservative approach to allocations (assume worst case), reduced losses. | All serviced users, especially Murray River towns and Wangaratta | Catastrophic consequences are seen primarily as economic for Councils. Consequences for water agenices are due to impacts on service delivery and reputation. | Catastrophic | Rare | High | Rare | High | Unlikely | High | Murray Darling Basin Plan and Northern Sustainable Water Strategy |  | Very difficult to rate, where does adaptation fit into the picture with continuing low rainfall. There is not enough clarity in the risk description.
1.03 | Surface Water | (Poor) planning decisions Reduced average rainfall Increased rainfall variability Increase frequency of droughts | Interceptions (e.g. farm dams, forestry) reduce runoff and yield of surface water supplies | Reduced reliability of surface water supplies | Moderate | Likely | High | Almost certain | Extreme | Almost certain | Extreme | Regulation (with the exception of S&D) Land use planning | Rural residential, catchments with high proportion of dams (Happy Valley Creek) | In a drier climate, impact of interceptions is magnified. These are contributing factors/causes, rather than risks in themselves for NE Water. | Moderate | Likely | High | Almost certain | Extreme | Almost certain | Extreme | Murray Darling Basin Plan and Northern Sustainable Water Strategy
1.04 | Surface Water | Reduced runoff and inflows Imbalance of consumptive/environmental flows, Public pressure | Regulators require more environmental flows | Reduction of net pool of resources for consumption Unable to meet service obligation Water restrictions | Major | Unlikely | Medium | Possible | High | Likely | Extreme | Water Resource Plans (BEs), regulation |  | Total volume will remain unchanged, but consumptive pool may reduce. Vic legislation supersedes Commonwealth legislation until 2019. This is a contributing factor/cause, rather than risks in itself for NE Water. | Major | Possible | High | Possible | High | Likely | Extreme | Murray Darling Basin Plan and Northern Sustainable Water Strategy |  | Critical human neds will be met (urban), irrigators take the biggest risk
1.05 | Surface Water | Persistently raised temperatures Reduced steamflows More frequent and severe droughts, intense rainfall events, flooding Increased frequency and severity of bushfires | Increased incidence of poor water quality (eg algal blooms) impacts on water supply | Disruption to services - impacts on legal obligations and reputation (NE Water) Extreme water restrictions Increased treatment costs Public health issues Increased costs to customers | Minor | Likely | Medium | Likely | Medium | Almost certain | High | Treatment systems in major towns, emergency supplies for smaller towns | Murray River towns and small towns, e.g.Whitfield Rural users | Increased likelihood over time is driven by rural users unconnected to water authorities (non-water treatment customers) Recommended revised regional rating (M H E) | Moderate | Likely | High | Likely | High | Almost certain | Extreme | Regional Catchment Strategies - and regulated environmental flows | large dams and rivers | water quality affected by quality off runoff, not just algal impact.
1.06 | Ground Water | Increased frequency and severity of droughts Increased rainfall variability Reduced recharge Falling water table | Reduced capacity of groundwater affects accessability | Failed bores, rivers, other groundwater-dependent water supply options Increased capital and operating costs Access to groundwater more difficult and expensive - threatens viability of small communities (excludes environmental use) | Moderate | Possible | Medium | Likely | High | Likely | High | Regulation and engineering responses | Shallow groundwater areas (unconfined aquifers), rural users |  | Moderate | Possible | Medium | Likely | High | Likely | High |  |  | real differences in expert opinion, particularly Ovens Basin, further research and/or interpretation required
1.07 | Ground Water | Inadequate monitoring of groundwater Reduced reliability of surface water Reduced average rainfall Increased rainfall variability Increase frequency of droughts | Uncertainty of data relating to sustainable yield under climate change scenarios | Supply demand imbalance Failure to meet service delivery obligation Disruption to service Water restrictions required Emergency supply required Untimely investment decisions (too early, too late) | Major | Likely | Extreme | Possible | High | Possible | High | Regulation, precautionary approach built into legislation, on-going research and investigation, monitoring | Where there are groundwater users, where existing monitoring has been sparse. | Trends working in different ways. Improved research conflicted with climate change over time. | Major | Possible | High | Possible | High | Unlikely | Medium | Murray Darling Basin Plan and Northern Sustainable Water Strategy |  | We need good data, differences between Commonwealth and States needs to be resolved
1.08 | Ground Water | Reduced recharge Increased frequency and severity of droughts Increased rainfall variability | Regulators limit extraction of groundwater | Reduced supply availability Unable to meet service obligations Water restrictions Viability of small communities threatened | Major | Unlikely | Medium | Possible | High | Likely | Extreme | Water Resource Plans (BEs), regulation |  |  | Major | Unlikely | Medium | Possible | High | Likely | Extreme | Murray Darling Basin Plan and Northern Sustainable Water Strategy
1.09 | Alternative Supply | Increased rainfall variability Increased frequency and severity of droughts and extended dry periods | Alternative supply sources (in particular RWTs and reuse and reclaimed water) become unreliable | Reduced security and reliability of supply to unserviced properties Need to purchase tankered / top-up water - financial impacts Increased pressure on traditional supply sources | Minor | Likely | Medium | Likely | Medium | Likely | Medium | Councils providing bore use, restrictions on town water as an alternative source, demand management | Non-serviced areas, rural residential | Issue for councils, especially for rainwater tanks | Minor | Likely | Medium | Likely | Medium | Likely | Medium
1.1 | Ground Water | Persistently raised temperatures Reduced steamflows More frequent and severe droughts, intense rainfall events, flooding | Increased incidence of poor groundwater quality impacts on water supply | Disruption to services Increased treatment costs Public health issues Reputation issues Increased costs to customers | Major | Unlikely | Medium | Likely | Extreme | Likely | Extreme | Emergencies supplies frequired for rural areas and rural residential (no towns on groundwater) | Rural residential, rural users | Service delivery, reputational issue. Groundwater users are more affected than surface water users by poor water quality. No towns are on groundwater though. Recommended revised regional rating (M H E) | Minor | Unlikely | Low | Likely | Medium | Likely | Medium | Engineering solutions - treatment or deeper drilling

## Policy & Planning
Risk descriptions |  |  |  |  | Region wide Risk ratings | [6 empty] | Region wide Other information |  |  | DSE Risk ratings | [6 empty] | DSE Other information
[25 empty] | Insignificant | Minor | Moderate | Major | Catastrophic
Risk ID | Category | Causes/Stressors | Risk | Consequences | Consequences | Likelihood (Current) | Priority (Current) | Likelihood (2030) | Priority (2030) | Likelihood (2070) | Priority (2070) | Controls | Key Locations | Notes | Consequences | Likelihood (Current) | Priority (Current) | Likelihood (2030) | Priority (2030) | Likelihood (2070) | Priority (2070) | Controls | Key Locations | Notes | Almost certain | Likely | Possible | Unlikely | Rare
2.01 | Government Policy (fed/state) | Reduced water availability, government policy and increased public pressure to connect unserviced towns | Water authorities have to connect unserviced towns to the water supply system | Significant price increases for all water users Community complaints Sub-optimal investment decisions | Minor | Possible | Medium | Possible | Medium | Unlikely | Low | Often external funding is provided by Commonwealth or State Governments to provide connections | Unserviced towns, regions/districts | May improve reliability and land prices in small towns | Minor | Possible | Medium | Possible | Medium | Unlikely | Low |  |  |  | Government Policy (fed/state) | Land Use Planning | Demand Management | Water planning
2.02 | Government Policy (fed/state) | State, national and international greenhouse gas mitigation | Introduction of CPRS or other carbon pricing instrument | Increased cost of water and waste water services (e.g. pumping costs) Increased operating costs | Major | Possible | High | Likely | Extreme | Likely | Extreme | Nil |  | ESC currently prevents the passing of these types of costs onto customers. Lobbying may be required to change economic regulations covering pass on of costs. Opportunity - increased cost of energy allows money to be made from renewals. | Moderate | Possible | Medium | Likely | High | Likely | High | need to reduce energy inputs to fullfill obligations, long term project planning |  | very difficult to influence at a local scale, adaptation to higher costs.
2.03 | Government Policy (fed/state) | Reduced average rainfall Increased rainfall variability Increase frequency of droughts | Government policy relating to land development fails to take account of future water availability | Increased pressure on water supply Supply demand imbalances Water restrictions Increased cost to customers | Minor | Possible | Medium | Possible | Medium | Possible | Medium | Planning schemes, legislation, WSUD | Rural subdivisions, expanding towns (Bright, Fighting Gully Road in Beechworth) | Conflicting policy directions between water requirements for firefighting, others. Consequences are about security of supply, service delivery, cost, reputation | Minor | Possible | Medium | Possible | Medium | Possible | Medium
2.04 | Government Policy (fed/state) | Uncertainty over climate change projections and competing objectives / priorities result in governments lacking political will to implement water reforms | Lack of government funding / support for climate change and water initiatives | Regional economic, social and environmental objectives not met | Major | Possible | High | Unlikely | Medium | Unlikely | Medium | Political awareness, changing community expectations, lobbying, local knowledge and networks, existing commitments | Small, rural councils rely on external funding |  | Major | Likely | Extreme | Possible | High | Unlikely | Medium | Strong advocacy- Implement priority actions from the Hume Strategy |  | Work with NE Greenhouse Alliance
2.05 | Water planning | Uncertainty over climate change projections Competing objectives / priorities in different bodies involved in water planning | Inconsistent or uncoordinated regional responses to climate change and water planning | Regional economic, social and environmental objectives not met | [12 empty] | Not yet rated |  | Not yet rated |  | Not yet rated |  |  | This risk has not yet been rated by DSE
2.06 | Land Use Planning | Rainfall variability, high rainfall intensity events, development pressures in floodplain areas and high rainfall areas | Flood management and land use planning frameworks fail to take account of increased rainfall intensity under climate change scenarios | Flood damage costs to properties, Councils, water authorities Increases in insurance premiums Loss of life | Major | Rare | Medium | Rare | Medium | Rare | Medium | Planning controls |  | Some flood modelling, but the extent may be lacking. Rely on the State due to lack of resources. Major impact relates to litigation... | Major | Rare | Medium | Rare | Medium | Rare | Medium
2.07 | Demand Management | Increase frequency and intensity of droughts Increased frequency and intensity of heatwaves Population growth Tourism growth Increased rainfall variability, increased peak demand | Increased peak demand due to changing water use patterns (unserviced areas) | Reduced system reliability | Moderate | Possible | Medium | Likely | High | Likely | High | Regulation (no new licences ) | Unserviced areas | Issue for rural water, less of a concern for urban areas. Planning for unserviced areas does not plan for climate change. Current consequence is related to unserviced areas. | Moderate | Possible | Medium | Likely | High | Likely | High |  |  | pressure on serviced areas as well
2.08 | Demand Management | Increase frequency and intensity of droughts Increased frequency and intensity of heatwaves Population growth Tourism growth Increased rainfall variability | Increased peak demand due to changing water use patterns (serviced areas) | Reduced system reliability | Moderate | Rare | Low | Likely | High | Likely | High | Regulation (no new licences) | Serviced areas | Issue for rural water, less of a concern for urban areas. Planning for unserviced areas at present does not account for climate change. | Moderate | Rare | Low | Likely | High | Likely | High

## Infrastructure (water related)
Risk descriptions |  |  |  |  | Region wide Risk ratings | [6 empty] | Region wide Other information |  |  | DSE Risk ratings | [6 empty] | DSE Other information
[25 empty] | Insignificant | Minor | Moderate | Major | Catastrophic
Risk ID | Category | Causes/Stressors | Risk | Consequences | Consequences | Likelihood (Current) | Priority (Current) | Likelihood (2030) | Priority (2030) | Likelihood (2070) | Priority (2070) | Controls | Key Locations | Notes | Consequences | Likelihood (Current) | Priority (Current) | Likelihood (2030) | Priority (2030) | Likelihood (2070) | Priority (2070) | Controls | Key Locations | Notes | Almost certain | Likely | Possible | Unlikely | Rare
3.01 | Water Supply Infrastructure | Increased frequency and severity of intense rainfall events | Flooding of low lying water pump stations disrupts supply | Disruption to services Increased maintenance and/or capital costs | Minor | Unlikely | Low | Unlikely | Low | Possible | Medium | Licence conditions (height controls) | Unserviced areas only |  | Minor | Unlikely | Low | Unlikely | Low | Possible | Medium |  |  |  | Storage | Water Supply Infrastructure | Water Treatment | Waste Water | Stormwater | Flood management
3.02 | Water Supply Infrastructure | Step change in peak demand Increase in extreme temperatures and heatwaves Increased frequency and severity of droughts Population growth Growth in tourism , due to extended heatwave | Increase of water through the system damages existing supply infrastructure | Disruption to services Increased maintenance costs | Minor | Unlikely | Low | Unlikely | Low | Possible | Medium | Communication, notifications through media, restrictions, self-regulation, reduced supply |  |  | Minor | Unlikely | Low | Unlikely | Low | Possible | Medium
3.03 | Water Supply Infrastructure | Increased frequency and severity of extreme events | Power outages cut water supply (e.g. pump stations, treatment plants) | Disruption to services | Moderate | Rare | Low | Rare | Low | Rare | Low | Contingency plans for every site, mobile generators, restrictions, notifications, remote monitoring of all sites |  |  | Moderate | Rare | Low | Rare | Low | Rare | Low
3.04 | Water Supply Infrastructure | Ground movement associated with increased rainfall variability and increased frequency and severity of droughts Increase in frequency and severity of bushfires | Increased damage to pipelines and other water supply infrastructure | Increased maintenance costs Increased capital costs disruption of service | Moderate | Possible | Medium | Likely | High | Likely | High | Maintenance programs, design and siting, construction techniques, monitoring programs, |  | Suggested revised regional rating (M M H) | Moderate | Possible | Medium | Likely | High | Likely | High
3.05 | Storage | Increased rainfall variability and increased frequency and severity of droughts causes ground movement, | Increased damage to dam infrastructure | Dam safety | Catastrophic | Rare | High | Rare | High | Rare | High | ANCOL standards Maintenance programs, design and siting, construction techniques, monitoring programs, |  |  | Catastrophic | Rare | High | Rare | High | Rare | High
3.06 | Waste Water | Increased frequency and severity of intense rainfall events. Flooding | Inundation of low lying waste water pump stations and other wastewater infrastructure | Disruption to services pollution of waterways or groundwater | Moderate | Possible | Medium | Possible | Medium | Possible | Medium | System based plans, remote monitoring |  |  | Moderate | Possible | Medium | Possible | Medium | Possible | Medium
3.07 | Waste Water | Increased frequency and severity of extreme events | Power outages cut supply to waste water facilities | Disruption to services Pollution of waterways | Moderate | Possible | Medium | Possible | Medium | Possible | Medium | Contingency plans for every site, mobile generators, restrictions, notifications, remote monitoring of all sites |  |  | Moderate | Possible | Medium | Possible | Medium | Possible | Medium
3.08 | Waste Water | Increased frequency and severity of intense rainfall events Infiltration of treatment system | Wastewater treatment system overloaded | Disruption to services Pollution of waterways or groundwater infiltration | Moderate | Possible | Medium | Possible | Medium | Possible | Medium | Maintenance programs, (relining works), remote monitoring |  | Environmental damage the key driver | Moderate | Possible | Medium | Possible | Medium | Possible | Medium
3.09 | Stormwater | Increased frequency and severity of intense rainfall events Increased rainfall variability | Stormwater systems overwhelmed or damaged | Increased maintenance and capital costs Limited availability of stormwater for harvesting / re-use Increased flooding Damage to creeks which form part of stormwater management system | Minor | Likely | Medium | Almost certain | High | Almost certain | High | Engineering Guidelines for Subdivisions & Development Standards (NE Water) Stormwater pipes installed in new developments and retrofits are designed for 1:10 year peak flow, up from 1:5 (although flood management plans do not necessarily reflect new standards) Design incorporating overland flow paths, detention systems, stormwater reuse systems. |  | Recommended revised regional rating (H E E) | Minor | Likely | Medium | Almost certain | High | Almost certain | High
3.1 | Flood management | Increased frequency and severity of intense rainfall events Increased rainfall variability | Damage to or failure of flood mitigation structures (e.g. levees, farm dams) | Increased maintenance and capital costs Increased flooding | [8 empty] | Wangaratta, Markwood |  |  |  | Not yet rated |  | Not yet rated |  | Not yet rated |  |  | This risk has not yet been rated by DSE
3.11 | Flood management | Increased frequency and severity of intense rainfall events | Increased damage to regional infrastructure (roads, bridges, culverts) | Increased maintenance and capital costs Disruption to services Community hardship | [12 empty] | Not yet rated |  | Not yet rated |  | Not yet rated |  |  | This risk has not yet been rated by DSE

## Economic Development
Risk descriptions |  |  |  |  | Region wide Risk ratings | [6 empty] | Region wide Other information |  |  | DSE Risk ratings | [6 empty] | DSE Other information
[25 empty] | Insignificant | Minor | Moderate | Major | Catastrophic
Risk ID | Category | Causes/Stressors | Risk | Consequences | Consequences | Likelihood (Current) | Priority (Current) | Likelihood (2030) | Priority (2030) | Likelihood (2070) | Priority (2070) | Controls | Key Locations | Notes | Consequences | Likelihood (Current) | Priority (Current) | Likelihood (2030) | Priority (2030) | Likelihood (2070) | Priority (2070) | Controls | Key Locations | Notes | Almost certain | Likely | Possible | Unlikely | Rare
4.01 | Economic Development | Reduced water availability Changes to entitlements (e.g. Murray Darling Basin Plan) Increased water costs | Decline in viability of regional agricultural sector | Regional economic decline Reduced employment Reduced rate base | Moderate | Unlikely | Medium | Possible | Medium | Possible | Medium | Planning and land use management strategies Water trading Rural land strategies Research into water efficiency | Rural base areas with a high proportion of farming | Look at Towong. | Moderate | Unlikely | Medium | Possible | Medium | Possible | Medium |  |  |  | Economic Development
4.02 | Economic Development | Reduced water availability | Decline in viability of regional forestry sector (key LGAs) | Regional economic decline Reduced employment Reduced rate base | Moderate | Unlikely | Medium | Possible | Medium | Possible | Medium | Land use planning | Alpine, Indigo, Towong and possibly Wangaratta |  | Moderate | Unlikely | Medium | Possible | Medium | Possible | Medium
4.03 | Economic Development | Reduced water availability | Decline in viability of regional forestry sector (other areas) | Regional economic decline Reduced employment Reduced rate base | Minor | Unlikely | Low | Possible | Medium | Possible | Medium | Land use planning | All other LGAs | Double-check against the basin plan and La Trobe uni | Minor | Unlikely | Low | Possible | Medium | Possible | Medium
4.04 | Economic Development | Reduced water availability Increased water costs | Decline in viability of regional industrial sector | Regional economic decline Reduced employment Reduced rate base | Catastrophic | Rare | High | Rare | High | Unlikely | High | WaterMAP, protected before other sectors on water availability Planning for water scarcity by industries |  | The construction industry, being reliant on water for particular activities, is particularly vulnerable to water shortages. | Catastrophic | Rare | High | Rare | High | Unlikely | High |  |  | Catastrophic fo individual communities but less consequence across region
4.05 | Economic Development | Reduced water availability Reduced streamflows and resulting damage of environmental assets Decrease in snow cover Increase in extreme temperatures and heatwaves Increased frequency and severity of droughts Impacts of climate on wine region | Decline in viability of regional tourism sector | Regional economic decline Reduced employment Reduced rate base | Major | Possible | High | Likely | Extreme | Likely | Extreme | Tourism strategies focus on diversification, products, event-based tourism, ski resorts have strategies |  |  | Moderate | Likely | High | Likely | High | Likely | High
4.06 | Economic Development | Reduced water availability | Supply availability limits to urban areas and towns constrains future development and growth | Regional economic stagnation | Moderate | Rare | Low | Unlikely | Medium | Unlikely | Medium | Economic development strategy, land use planning, water supply demand strategies, | Towns without high security water supply |  | Moderate | Rare | Low | Unlikely | Medium | Unlikely | Medium

## Social and Community
Risk descriptions |  |  |  |  | Region wide Risk ratings | [6 empty] | Region wide Other information |  |  | DSE Risk ratings | [6 empty] | DSE Other information
[25 empty] | Insignificant | Minor | Moderate | Major | Catastrophic
Risk ID | Category | Causes/Stressors | Risk | Consequences | Consequences | Likelihood (Current) | Priority (Current) | Likelihood (2030) | Priority (2030) | Likelihood (2070) | Priority (2070) | Controls | Key Locations | Notes | Consequences | Likelihood (Current) | Priority (Current) | Likelihood (2030) | Priority (2030) | Likelihood (2070) | Priority (2070) | Controls | Key Locations | Notes | Almost certain | Likely | Possible | Unlikely | Rare
5.01 | Recreation | Increased rainfall variability Reduced water availability | Degradation of playing fields and golf courses | Loss of community access to playing fields Reduced community wellbeing and health Community complaints Increased maintenance costs | Moderate | Likely | High | Likely | High | Likely | High | Water reuse and recycling, water use planning, playing field species | All LGAs (with exception of Wodonga - has adapted) |  | Moderate | Likely | High | Likely | High | Likely | High | engineering solutions possible but these come at a cost |  |  | Recreation | Health & wellbeing | Emergency services | Community services | Other
5.02 | Recreation | Increased frequency and severity of droughts Increased rainfall variability Reduced water availability | Degradation of parks, gardens and streetscapes | Loss of community access to gardens Reduced community wellbeing and health Community complaints | Major | Likely | Extreme | Likely | Extreme | Likely | Extreme | Water reuse and recycling, water use planning, playing field species | All LGAs (with exception of Wodonga, Wodonga feel they have adapted) |  | Moderate | Likely | High | Likely | High | Likely | High
5.03 | Recreation | Increased frequency and severity of droughts Increased rainfall variability Reduced streamflows Reduced water quality (e.g. algal blooms) | Reduced community access to waterways for recreation (e.g. swimming, boating) | Reduced community amenity and wellbeing | Major | Possible | High | Possible | High | Likely | Extreme | [5 empty] | Not applicable |  | Not applicable |  | Not applicable |  |  | no DSE comment
5.04 | Health & wellbeing | Persistently raised temperatures Reduced steamflows More frequent and severe droughts, Increased frequency and severity of bushfires | Increased incidence of poor water quality in unserviced areas | Public health issues Community complaints | Minor | Unlikely | Low | Possible | Medium | Possible | Medium | Licence conditions (clearly stating that not of potable consumption), notifications, alternative supplies, on-property controls |  |  | Minor | Unlikely | Low | Possible | Medium | Possible | Medium
5.05 | Health & wellbeing | Reduced reliability of water supplies to residential areas | Increased frequency and/or severity of water restrictions | Gardens can't be watered Reduced amenity Increased stress and mental health issues | Major | Possible | High | Possible | High | Possible | High | [5 empty] | Not applicable |  | Not applicable |  | Not applicable |  |  | no DSE comment
5.06 | Health & wellbeing | Increase water prices linked to reduced water availability | Financial stress on low income households | Reduced community wellbeing Community complaints Impact on economic development | Minor | Unlikely | Low | Possible | Medium | Possible | Medium | Pricing controls through the ESC, and controls in water authorities, hardship provisions |  |  | Minor | Unlikely | Low | Possible | Medium | Possible | Medium
5.07 | Emergency services | Increased rainfall variability Reduced moisture in forests and grasslands Increased frequency of other severe fire weather conditions | Increase in frequency of code red days | Increased disruptions to services and community (voluntary evacuations) Economic and tourism impacts | Major | Possible | High | Likely | Extreme | Likely | Extreme | [5 empty] | Not applicable |  | Not applicable |  | Not applicable |  |  | no DSE comment
5.08 | Emergency services | Increased rainfall variability Increased frequency and severity of droughts | Reduced availability of water for emergency services (esp. bushfire fighting) | Loss of life Loss or damage to property Increased insurance costs | Major | Unlikely | Medium | Possible | High | Possible | High | Planning controls, local and regional planning to incorporate reduced availability into fire response (Municipal fire preventation planning) |  | CMA: assets decline, local council: health and safety, potential financial impact of asset loss, legal and financial and reputational | Major | Unlikely | Medium | Possible | High | Possible | High
5.09 | Community services | Decreased average rainfall, increased frequency and severity of droughts leads to water shortages for road maintenance | Unable to maintain unsealed roads | Reduced quality of road surface Road safety Restrictions on traffic movement Increased maintenance costs | Minor | Possible | Medium | Possible | Medium | Likely | Medium | Alternate water sources, flexibility in maintenance programs to avoid water use in high use times, accept reduced level of service, chemicals |  |  | Minor | Possible | Medium | Possible | Medium | Likely | Medium
5.1 | Community services | Reduced average rainfall Increased rainfall variability Increased evaporation and evapotranspiration Reduced and/or more variable streamflows | Reduced reliability and/or quality of water for essential services (e.g. schools, medical facilities) - unserviced areas | Public health impacts Community outrage | Moderate | Possible | Medium | Possible | Medium | Possible | Medium | [5 empty] | not applicable |  | not applicable |  | not applicable |  |  | no DSE comment
5.11 | Community services | Reduced average rainfall Increased rainfall variability Increased evaporation and evapotranspiration Reduced and/or more variable streamflows | Reduced reliability and/or quality of water for essential services (e.g. schools, medical facilities) - serviced areas | Public health impacts Community outrage | Major | Unlikely | Medium | Unlikely | Medium | Unlikely | Medium | [5 empty] | not applicable |  | not applicable |  | not applicable |  |  | no DSE comment
5.12 | Other | Uncertainty over climate change projections Competing household priorities Lack of resources Lack of information | Local community (households, businesses) lacks capacity or commitment to implement climate change and water initiatives | Regional economic, social and environmental objectives not met | Minor | Likely | Medium | Likely | Medium | Likely | Medium |  |  |  | Moderate | Likely | High | Likely | High | Likely | High | Leadership and community engagement |  | Needs to be community led, backed by good policy to make it easier for people to take action.

## Environment
Risk descriptions |  |  |  |  | Region wide Risk ratings | [6 empty] | Region wide Other information |  |  | DSE Risk ratings | [6 empty] | DSE Other information
[25 empty] | Insignificant | Minor | Moderate | Major | Catastrophic
Risk ID | Category | Causes/Stressors | Risk | Consequences | Consequences | Likelihood (Current) | Priority (Current) | Likelihood (2030) | Priority (2030) | Likelihood (2070) | Priority (2070) | Controls | Key Locations | Notes | Consequences | Likelihood (Current) | Priority (Current) | Likelihood (2030) | Priority (2030) | Likelihood (2070) | Priority (2070) | Controls | Key Locations | Notes | Almost certain | Likely | Possible | Unlikely | Rare
6.01 | Catchment health | Reduced average rainfall Increased rainfall variability Persistently raised temperatures Changed evapotranspiration | Loss or change in composition of native vegetation (including instream vegetation) | Reduced catchment health Loss of communities or biodiversity | Moderate | Likely | High | Likely | High | Almost certain | Extreme | Connectivity, biodiversity planning at CMA and State level, roadside management at council level |  |  | Moderate | Likely | High | Likely | High | Almost certain | Extreme | Regional Catchment Strategy and Regional River Health Strategy |  |  | Catchment health | Aquatic Ecosystems | Other
6.02 | Catchment health | Reduced average rainfall Increased rainfall variability Increase frequency of droughts | Increase in invasive weed species | Reduced catchment health Loss of communities and biodiversity Agricultural impacts Increased costs of weed control | Moderate | Likely | High | Likely | High | Almost certain | Extreme |  | CMA's focus is on national parks and other reserves | Larger towns, it may be less of a concern. For CMAs, weed management may have a larger cost than 'Moderate', although there may be cost sharing with councils in 'community' areas | Moderate | Likely | High | Likely | High | Almost certain | Extreme | RCS - need to reduce agricultural impacts DPI to lead
6.03 | Aquatic Ecosystems | Reduced average rainfall Increased rainfall variability Increased surface or groundwater extractions Reduced reliability of surface water Reduced groundwater recharge | Decreased water reliability in unregulated systems (standing waterbodies, wetlands and waterways) | Increased pressure on aquatic and amphibious species and communities Impaired ecosystem function | Major | Likely | Extreme | Likely | Extreme | Likely | Extreme | Demand restrictions, leading to irrigation bans Other water restrictions including watering of public open space and outdoor residential gardening Build storages, drill bores Alternative supplies for irrigation Shift communities to regulated system |  |  | Major | Likely | Extreme | Likely | Extreme | Likely | Extreme | Regional Catchment Strategy and Regional River Health Strategy
6.04 | Aquatic Ecosystems | Reduced average rainfall Increased rainfall variability Increased surface or groundwater extractions. Reduced reliability of surface water Reduced groundwater recharge | Decreased water reliability in regulated systems (standing water bodies and wetlands) | Increased pressure on aquatic and amphibious species and communities Impaired ecosystem function | Moderate | Likely | High | Likely | High | Likely | High | Environmental flows, environmental water plans Regulation of pumping See also controls for risk 1.02 | Murray, Mitta Mitta floodplain |  | Moderate | Likely | High | Likely | High | Likely | High | Regional Catchment Strategy and Regional River Health Strategy
6.05 | Aquatic Ecosystems | Reduced average rainfall Increased rainfall variability Increased surface or groundwater extractions Reduced reliability of surface water Reduced groundwater recharge | Decreased water reliability in regulated systems (waterways) | Increased pressure on aquatic or amphibious species and communities Impaired ecosystem function Loss of riparian vegetation | Major | Rare | Medium | Rare | Medium | Unlikely | Medium | Environmental flows, environmental water plans Regulation of pumping See also controls for risk 1.02 | Includes Ovens, King, Mitta Mitta and Murray | In-stream more of a consequence to CMAs than some Councils, not a planning priority | Major | Rare | Medium | Rare | Medium | Unlikely | Medium
6.06 | Aquatic Ecosystems | Reduced average rainfall Increased rainfall variability Increased surface or groundwater extractions Reduced reliability of surface water Reduced groundwater recharge | Increased frequency of poor water quality | Increased pressure on aquatic or amphibious species and communities Decreased breeding opportunites for birds | Moderate | Likely | High | Likely | High | Almost certain | Extreme | Revegetation, land use planning, riparian management, environmental flows | All |  | Moderate | Likely | High | Likely | High | Almost certain | Extreme | Regional Catchment Strategy and Regional River Health Strategy
6.07 | Aquatic Ecosystems | Reduced average rainfall Increased rainfall variability Increased surface or groundwater extractions Reduced reliability of surface water | Reduction in shallow groundwater recharge | Increased pressure on aquatic or amphibious species and communities Decreased breeding opportunites for birds, impacts on wetlands, groundwater dependent ecosystems | Major | Unlikely | Medium | Possible | High | Possible | High | Planning, licencing, recharge planning |  |  | Major | Unlikely | Medium | Possible | High | Possible | High

## Ratings Tables
Index table
Consequences
Likelihood | Insignificant | Minor | Moderate | Major | Catastrophic
Almost certain | Medium | High | Extreme | Extreme | Extreme
Likely | Low | Medium | High | Extreme | Extreme
Possible | Low | Medium | Medium | High | Extreme
Unlikely | Low | Low | Medium | Medium | High
Rare | Low | Low | Low | Medium | High
LEGEND: PRIORITY INTERPRETATION
Priority | Interpretation
Extreme | Immediate action required and formal risk management plans will be prepared
High | Senior management attention needed and formal risk management plans will be prepared
Medium | Management responsibility must be specified and risk management tasks integrated with general plans
Low | Manage by routine procedures with no additional tasks or changes to routine procedures

## Legends
LEGEND: LIKELIHOOD RATINGS
Rating |  | Recurrent risks | Single events
A | Almost certain | Could occur several times per year | More likely than not – probability high (e.g. greater than 90%)
B | Likely | May arise about once per year | As likely as not – at least 50/50 chance or greater
C | Possible | May arise once in ten years | Less likely than not but still appreciable – less than 50% chance but still quite high
D | Unlikely | May arise once in ten to twenty-five years | Unlikely but not negligible – probability low but noticeably greater than zero
E | Rare | Unlikely during the next twenty-five years | Negligible – probability very small, close to zero
LEGEND: CONSEQUENCES RATINGS
Rating
5 | Catastrophic
4 | Major
3 | Moderate
2 | Minor
1 | Insignificant